

**New Balaji fire**

**and safety services**

Email : [balajifiresafety6@gmail.com](mailto:balajifiresafety6@gmail.com) Contact: 9326318479

INVOICE

Sr.no :- NBF/1224/25 Date:- 30/12/2024

Side name: Signate Borivali west



|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| ***Sr.no*** | **Description** | **Quantity** | **Rate** | **Amount (Rs.)** |
| 1 | Pump-room installation | - | - | 100,000.00 |
| 2 | Ground floor sprinkler point | 17 nos | 750 | 12,750.00 |
| 3 | 150 mm pipe Raiser to pump-room connection sprinkler line | 11.4 mtr | 600 | 6,840.00 |
| 4 | 150 mm hydrant raiser to pump room connection | 10.6 mtr | 600 | 6,360.00 |
| 5 | 25 mm drain line | 12.1 mtr | 110 | 1,331.00 |
| 6 | 1st floor to 19th floor sprinkler fitting completed | 377 nos | 50 | 18,850.00 |
|  |  | Total | | 146,131.00 |
| Advance | | 0 |
| To be Paid | | 146,131.00 |



Signature

