

**New Balaji fire**

**and safety services**

Email : [balajifiresafety6@gmail.com](mailto:balajifiresafety6@gmail.com) Contact: 9326318479

INVOICE

Sr.no :- NBF/1224/023 Date:- 30/12/2024

Side name: Prity CHSL (Ghatcopar)



|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| ***Sr.no*** | **Description** | **Quantity** | **Rate** | **Amount (Rs.)** |
| 1 | Pump-room installation |  |  | 100,000.00 |
| 2 | Hose-Reel drum installation | 11 nos | 400 | 44,000.00 |
| 3 | two way inlet installation | 2 nos | 300 | 600.00 |
| 4 | Single hydrant valve installation | 2 nos | 200 | 400.00 |
| 5 | double hydrant valve installation | 11 nos | 300 | 3,300.00 |
| 6 | 100 mm tank inlet ring-line installation | 28.7 mtr | 360 | 10,332.00 |
| 7 | 100 mm tank inlet ring-line wrapping-coating | 27 mtr | 15 | 405.00 |
| 8 | 150 mm ring-line to raiser to pump-room connection installation | 45.8 mtr | 540 | 24,732.00 |
| 9 | 150 mm ring-line to raiser to pump-room connection wrapping-coating | 40 mtr | 15 | 600.00 |
| 10 | 100 mm pipe sprinkler raiser to pump-room connection installation | 15.8 mtr | 360 | 5,688.00 |
| 11 | 100 mm pipe sprinkler raiser to pump-room connection wrapping-coating | 13.8 mtr | 15 | 207.00 |
| 12 | 80 mm hydrant post and drain line installation | 13.8 mtr | 300 | 4,140.00 |
| 13 | 80 mm hydrant post and drain line wrapping-coating | 10 mtr | 15 | 150.00 |
| 14 | 200 mm pipe fire tank to pump-room installation | 15.4 mtr | 720 | 11,088.00 |
| 15 | 200 mm pipe fire tank to pump-room wrapping-coating | 15.4 mtr | 15 | 231.00 |
| 16 | 100 mm butterfly installation | 1 nos | 360 | 360.00 |
| 17 | 10 mm NRV installation | 1 nos | 360 | 360.00 |
|  |  | Total | | 206,593.00 |
| Advance | | 0 |
| To be Paid | | 206,593.00 |



Signature

