

**New Balaji fire**

**and safety services**

Email : [balajifiresafety6@gmail.com](mailto:balajifiresafety6@gmail.com) Contact: 9326318479

Quotation

Sr.no :- NBF/1223/053 Date:-17/12/2023

To :- --------------------



SUB: QUOTATION FOR FIRE SAFETY FITTINGS

|  |  |  |  |
| --- | --- | --- | --- |
| **Sr. No** | **Work Description** | **Unit** | **Rate\*** |
| 1 | Erection, testing and commissioning of M.S/G.I Welded Joint Heavy grade Pipes with including of suitable types of M. S. supports, Anchor fastener, bullet fastener, thread rod, G. i. U &Hi-tech Clamp, Heavy grade Seamless fittings such as type of Reducers, Tees, elbows, flanges, & Forged type coupling, Socket elbow, With Two Coat Zinc Oxide & Two Coat of Red Paint, Including of Cutting, Drilling, Welding, Hanging, Loading, Unloading & Shifting etc. |  |  |
| *a* | 25 mm dia | per inch-mtr | 140 |
| *b* | 32 mm dia | per inch-mtr | 140 |
| *c* | 40 mm dia | per inch-mtr | 140 |
| *d* | 50 mm dia | per inch-mtr | 140 |
| *e* | 65 mm dia | per inch-mtr | 140 |
| *f* | 80 mm dia | per inch-mtr | 115 |
| *g* | 100 mm dia | per inch-mtr | 115 |
| *h* | 150 mm dia | per inch-mtr | 115 |
| 2 | Installing, testing and commissioning of butterfly valves/ Sluice Valve/NRV/Foot Valve / Strainer etc. |  |  |
| *a* | 40 mm dia | per Nos | 172 |
| *b* | 50 mm dia | per Nos | 230 |
| *c* | 65 mm dia | per Nos | 287 |
| *d* | 80 mm dia | per Nos | 345 |
| *e* | 100 mm dia | per Nos | 460 |
| *f* | 150 mm dia | per Nos | 690 |
| 3 | Erection and fixing of MS Structure support with painting |  | 40 |
| 4 | Installing, testing and commissioning of Gun mettle  Air release Valve with isolation valve with complete set. | per Nos | 160 |
| 5 | Installing, testing and commissioning of Sprinkler with Rosser Plate complete Set. |  |  |
| *a* | Pendent /Side wall/ Upright / Concealed / Drencher Nozzle / MVWS Nozzle / HVWS Nozzle | per Nos | 100 |
| 6 | Installing, testing and commissioning of Flexodroup with Rosser plate complete Set 500 mm/1000 mm/1500 mm /2000 mm | per Nos | 300 |
| 7 | Installing, testing and commissioning of Hydrant Valve with Complete Set. |  |  |
| *a* | Singal Head Hydrant Valve | per Nos | 300 |
| *b* | Double Head Hydrant Valve | per Nos | 400 |
| 8 | Installing, testing and commissioning of Hose Box |  |  |
| *a* | Double door | per Nos | 250 |
| 09 | Installing, testing and commissioning of Hose Pipe | per Nos | 80 |
| 10 | Installing, testing and commissioning of short branch pipe | per Nos | 80 |
| 11 | Installing, testing and commissioning of Hose reel drum of swining type with hose reel with Ball valve and shut off nozzle complete set | per Nos | 500 |
| 12 | Installing, testing and commissioning of Four way fire brigade Inlet and Outlet Breeching Complete Set. | per Nos | 400 |
| 13 | Installing, testing and commissioning of Deluge valves / Alarm Gong valve with complete Set. | per Nos | 3000 |
| 14 | Barden Type Wrapping and Coating With Black Japan |  |  |
| *a* | 80 mm/ 100mm / 150mm | per mtr | 30 |
| 15 | IWL Wrapping and Coating with Hot process |  |  |
| *a* | 80 mm/ 100mm / 150mm / 200 mm | per inch-mtr | 40 |
| 16 | Fixing of fire Extinguishers with mount brackets. |  |  |
| *a* | 4 Kg, 9 Kg , 6 Kg | per Nos | 100 |
| 17 | Fixing of fire buckets stand with stand filling | per Nos | 100 |
| 18 | Installing, testing and commissioning of Pump room |  |  |
| 19 | Test and drain valve assembly complete | Per Nos | 2500 |

**Terms & Conditions.**

1. Work order required to start the work.
2. 30%\* payment Advance before starting the work.
3. 55% payment required during work in progress.
4. 15% payment required after testing & finishing the work
5. All the additional Work will get chargeable.

Note: *In-case of any Concern feel free to reach on given contact details*

*All the (\* , TBD) can discuss on call and make a final price.*

**Proprietor .**

**Shailesh Rai**

